## NOTATION
EDM | Extract Mixture Volume
SC | Sample Concentration
SV | Sample Volume

## Calibration_Curve
CONS | AREA 215nm | AREA 260nm
0.1 | 7805.7229 | 4065 | 215nm |  |  | 260nm
0.5 | 44724.4 | 25141.4 |  | a | b |  | a | b
0.5 | 41113.1 | 23200.6 |  | 180825.1821 | -31502.5563 |  | 103645.3247 | -24728.4078
0.5 | 36312.2 | 19892 |  | 1728.5553 | 20066.2727 |  | 1010.8241 | 11734.3492
2 | 318586.8 | 178678.9 | R2 | 0.99818 | 66177.589 | R2 | 0.9981 | 38699.3115
2 | 345233.6 | 193454
2 | 307551.5 | 172586.4 | LOD [ug/mL] | 1.2077 |  | LOD [ug/mL] | 1.2322
3 | 505510.8 | 283513.8
3 | 457471.4 | 256720
3 | 634746.4 | 357021.2
5 | 869158.5 | 488931.5
5 | 852709.4 | 478687.8
5 | 907866 | 511232.4
10 | 1660262.2 | 937629.3
10 | 1771366 | 999141.1
10 | 1843854.4 | 1041410.5
15 | 2788152.9 | 1582784.2
15 | 2728667 | 1549260.4
15 | 2566378.9 | 1454501.7
25 | 4601835.6 | 2643166.8
25 | 4435922.4 | 2541917.8
25 | 4419567.6 | 2535029.2
50 | 6537595.2
50 | 6417999.4
100 | 16335916.1
100 | 15205881.6
100 | 14535127.6

## CCD_1
Central Composite Design (Ratotate) of the best DES
[7 empty] | Number of factor (k) | 3
[7 empty] | Full factorial run (2^k) | 8
| Levels | [5 empty] | Alpha | 1.6818
Factors | -α | -1 | 0 | 1 | +α |  | Number of centre points (n_0) | 3
Extractant-Dispersant Ratio (EDR) | 0.35865 | 0.72 | 1.25 | 1.78 | 2.1414 | 0.89135 | Axial run (2*k) | 6
Sample Volume (SV) | 4.4592 | 6.3 | 9 | 11.7 | 13.5408 | 4.5408 | Total runs | 17
Extractant Mixture Volume (EMV) | 373.1821 | 380 | 390 | 400 | 406.8179 | 16.8179
Extractant volujme (uL) | 98.5108 | 159.0698 | 216.6667 | 256.1151 | 277.3138
| Coded Factors |  |  | Factors
| EDR (A) | SV (B) | EMV (C) | EDR (A) | SV (B) | EMV (C)
| -1 | -1 | -1 | 0.72 | 6.3 | 380
| 1 | -1 | -1 | 1.78 | 6.3 | 380
| -1 | 1 | -1 | 0.72 | 11.7 | 380
| 1 | 1 | -1 | 1.78 | 11.7 | 380
| -1 | -1 | 1 | 0.72 | 6.3 | 400
| 1 | -1 | 1 | 1.78 | 6.3 | 400
| -1 | 1 | 1 | 0.72 | 11.7 | 400
| 1 | 1 | 1 | 1.78 | 11.7 | 400
| -α | 0 | 0 | 0.35865 | 9 | 390
| +α | 0 | 0 | 2.1414 | 9 | 390
| 0 | -α | 0 | 1.25 | 4.4592 | 390
| 0 | +α | 0 | 1.25 | 13.5408 | 390
| 0 | 0 | -α | 1.25 | 9 | 373.1821
| 0 | 0 | +α | 1.25 | 9 | 406.8179
| 0 | 0 | 0 | 1.25 | 9 | 390
| 0 | 0 | 0 | 1.25 | 9 | 390
| 0 | 0 | 0 | 1.25 | 9 | 390

## CCD_2
Central Composite Design (Ratotate) of the best DES
[7 empty] | Number of factor (k) | 3
[7 empty] | Full factorial run (2^k) | 8
| Levels | [5 empty] | Alpha | 1.6818
Factors | -α | -1 | 0 | 1 | +α |  | Number of centre points (n_0) | 5
Extractant-Dispersant Ratio (EDR) | 0.35865 | 0.72 | 1.25 | 1.78 | 2.1414 | 0.89135 | Axial run (2*k) | 6
Sample Volume (SV) | 4.4592 | 6.3 | 9 | 11.7 | 13.5408 | 4.5408 | Total runs | 19
Dispersant volume (DV) | 115.0028 | 190 | 300 | 410 | 484.9972 | 184.9972
Extractant volujme (uL) | 30.3579 | 79.5349 | 166.6667 | 262.518 | 330.6059
| Factors |  |  | Factors
| EDR (A) | SV (B) | DV (C) | EDR (A) | SV (B) | DV (C)
Factorial runs (Block 1) | -1 | -1 | -1 | 0.72 | 6.3 | 190
| -1 | 1 | 1 | 0.72 | 11.7 | 410
| 1 | -1 | 1 | 1.78 | 6.3 | 410
| 1 | 1 | -1 | 1.78 | 11.7 | 190
| 0 | 0 | 0 | 1.25 | 9 | 300
| 0 | 0 | 0 | 1.25 | 9 | 300
Factorial runs (Block 2) | -1 | -1 | 1 | 0.72 | 6.3 | 410
| -1 | 1 | -1 | 0.72 | 11.7 | 190
| 1 | -1 | -1 | 1.78 | 6.3 | 190
| 1 | 1 | 1 | 1.78 | 11.7 | 410
| 0 | 0 | 0 | 1.25 | 9 | 300
| 0 | 0 | 0 | 1.25 | 9 | 300
Axial runs (Block 3) | -α | 0 | 0 | 0.35865 | 9 | 300
| +α | 0 | 0 | 2.1414 | 9 | 300
| 0 | -α | 0 | 1.25 | 4.4592 | 300
| 0 | +α | 0 | 1.25 | 13.5408 | 300
| 0 | 0 | -α | 1.25 | 9 | 115.0028
| 0 | 0 | +α | 1.25 | 9 | 484.9972
| 0 | 0 | 0 | 1.25 | 9 | 300
| 0 | 0 | 0 | 1.25 | 9 | 300
180
|  | 0.72 | 6.88
|  | 0.72 | 6.88
|  | 1.78 | 6.88
|  | 1.78 | 6.88
|  | 0.72 | 11.12
|  | 0.72 | 11.12
|  | 1.78 | 11.12
|  | 1.78 | 11.12
|  | 1.25 | 9
|  | 1.25 | 9
|  | 0.5 | 9
|  | 2 | 9
|  | 1.25 | 6
|  | 1.25 | 12
|  | 1.25 | 9
|  | 1.25 | 9

## CCD_3
Central Composite Design (Ratotate) of the best DES
[8 empty] | Number of factor (k) | 3
[8 empty] | Full factorial run (2^k) | 8
| Levels | [6 empty] | Alpha | 1.6818
Factors | -α | -1 | 0 | 1 | +α |  |  | Number of centre points (n_0) | 5
Extractant-Dispersant Ratio (EDR) | 0.35865 | 0.72 | 1.25 | 1.78 | 2.1414 | 0.89135 |  | Axial run (2*k) | 6
Sample Volume (SV) | 4.4592 | 6.3 | 9 | 11.7 | 13.5408 | 4.5408 |  | Total runs | 19
Dispersant volume (DV) | 115.0028 | 190 | 300 | 410 | 484.9972 | 184.9972
Extractant volujme (uL) | 30.3579 | 79.5349 | 166.6667 | 262.518 | 330.6059
| Factors |  |  | Factors
| EDR (A) | SV (B) | DV (C) | EDR (A) | SV (B) | DV (C) | DES vol
| -1 | -1 | -1 | 0.72 | 6.3 | 190 | 79.5349
| 1 | -1 | -1 | 1.78 | 6.3 | 190 | 121.6547
| -1 | 1 | -1 | 0.72 | 11.7 | 190 | 79.5349
| 1 | 1 | -1 | 1.78 | 11.7 | 190 | 121.6547
| -1 | -1 | 1 | 0.72 | 6.3 | 410 | 171.6279
| 1 | -1 | 1 | 1.78 | 6.3 | 410 | 262.518
| -1 | 1 | 1 | 0.72 | 11.7 | 410 | 171.6279
| 1 | 1 | 1 | 1.78 | 11.7 | 410 | 262.518
| -α | 0 | 0 | 0.35865 | 9 | 300 | 79.1925
| +α | 0 | 0 | 2.1414 | 9 | 300 | 204.4997
| 0 | -α | 0 | 1.25 | 4.4592 | 300 | 166.6667
| 0 | +α | 0 | 1.25 | 13.5408 | 300 | 166.6667
| 0 | 0 | -α | 1.25 | 9 | 115.0028 | 63.8904
| 0 | 0 | +α | 1.25 | 9 | 484.9972 | 269.4429
| 0 | 0 | 0 | 1.25 | 9 | 300 | 166.6667
| 0 | 0 | 0 | 1.25 | 9 | 300 | 166.6667
| 0 | 0 | 0 | 1.25 | 9 | 300 | 166.6667
| 0 | 0 | 0 | 1.25 | 9 | 300 | 166.6667
| 0 | 0 | 0 | 1.25 | 9 | 300 | 166.6667
|  | 0.72 | 6.88
|  | 0.72 | 6.88
|  | 1.78 | 6.88
|  | 1.78 | 6.88
|  | 0.72 | 11.12
|  | 0.72 | 11.12
|  | 1.78 | 11.12
|  | 1.78 | 11.12
|  | 1.25 | 9
|  | 1.25 | 9
|  | 0.5 | 9
|  | 2 | 9
|  | 1.25 | 6
|  | 1.25 | 12
|  | 1.25 | 9
|  | 1.25 | 9

## Run_1
|  |  |  | Factors |  |  | Intermediate calculations |  |  |  | Measures 215nm |  |  |  |  | Measures 260nm
| Sample name | Extraction solvent | Teoric sample concentration | Extractant-Dispersant Ratio | Sample volume | Extraction mixture volume | DES volume | EDM a preparar | Volumen DES | Volume ACN | Sample concentration | Area | Concentration | Enrichment factor | Recovery | Sample concentration | Area | Concentration | Enrichment factor 260 | Recovery
Notation | - | des | - | x1 | x2 | x3 | ev | - | - | - | real_sc | - | - | - | - | real_sc |  | - | - | -
Units | - | - | ppm | - | mL | uL | uL | uL | uL | uL | ppm | - | ppm |  | % | ppm | - | ppm |  | %
DES screening | ML11 | Men1_Lid1 | 0.25 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.25 | 2877425.8 | 16.087 | 64.3479 | 119.2% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| MD11 | Men1_Dec1 | 0.25 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.25 | 2570572 | 14.39 | 57.56 | 106.6% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| TD11 | Thy1_Dec1 | 0.25 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.25 | 2195960.4 | 12.3183 | 49.2733 | 91.25% |  |  | 0.23859 | #DIV/0! | #DIV/0!
Centrifugue screening | RSM_1 | Men1_Lid1 | 0.25 | 0.72 | 6.3 | 380 | 159.0698 | 480 | 200.9302 | 279.0698 | 0.25 | 646358.6606 | 3.7487 | 14.9948 | 37.86% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_2 | Men1_Lid1 | 0.25 | 1.78 | 6.3 | 380 | 243.3094 | 480 | 307.3381 | 172.6619 | 0.25 | 401463.7 | 2.3944 | 9.5776 | 36.99% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_3 | Men1_Lid1 | 0.25 | 0.72 | 11.7 | 380 | 159.0698 | 480 | 200.9302 | 279.0698 | 0.25 | 898823.481 | 5.1449 | 20.5796 | 27.98% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_4 | Men1_Lid1 | 0.25 | 1.78 | 11.7 | 380 | 243.3094 | 480 | 307.3381 | 172.6619 | 0.25 | 517738.443 | 3.0374 | 12.1497 | 25.27% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_5 | Men1_Lid1 | 0.25 | 0.72 | 6.3 | 400 | 167.4419 | 500 | 209.3023 | 290.6977 | 0.25 | 715042.6858 | 4.1285 | 16.5142 | 43.89% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_6 | Men1_Lid1 | 0.25 | 1.78 | 6.3 | 400 | 256.1151 | 500 | 320.1439 | 179.8561 | 0.25 | 368316.8 | 2.2111 | 8.8443 | 35.96% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_7 | Men1_Lid1 | 0.25 | 0.72 | 11.7 | 400 | 167.4419 | 500 | 209.3023 | 290.6977 | 0.25 | 784601.9 | 4.5132 | 18.0529 | 25.84% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_8 | Men1_Lid1 | 0.25 | 1.78 | 11.7 | 400 | 256.1151 | 500 | 320.1439 | 179.8561 | 0.25 | 547101.3 | 3.1998 | 12.7992 | 28.02% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_9 | Men1_Lid1 | 0.25 | 0.35865 | 9 | 390 | 102.9503 | 490 | 129.3478 | 360.6522 | 0.25 | 1679452.8235 | 9.4619 | 37.8477 | 43.29% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_10 | Men1_Lid1 | 0.25 | 2.1414 | 9 | 390 | 265.8496 | 490 | 334.0161 | 155.9839 | 0.25 | 389130.8 | 2.3262 | 9.3048 | 27.49% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_11 | Men1_Lid1 | 0.25 | 1.25 | 4.4592 | 390 | 216.6667 | 490 | 272.2222 | 217.7778 | 0.25 | 342885.4805 | 2.0704 | 8.2818 | 40.24% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_12 | Men1_Lid1 | 0.25 | 1.25 | 13.5408 | 390 | 216.6667 | 490 | 272.2222 | 217.7778 | 0.25 | 562877.9 | 3.287 | 13.1482 | 21.04% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_13 | Men1_Lid1 | 0.25 | 1.25 | 9 | 373.1821 | 207.3234 | 473.1821 | 262.8789 | 210.3031 | 0.25 | 602893.7548 | 3.5083 | 14.0334 | 32.33% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_14 | Men1_Lid1 | 0.25 | 1.25 | 9 | 406.8179 | 226.01 | 506.8179 | 281.5655 | 225.2524 | 0.25 | 572781.9 | 3.3418 | 13.3673 | 33.57% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_15 | Men1_Lid1 | 0.25 | 1.25 | 9 | 390 | 216.6667 | 490 | 272.2222 | 217.7778 | 0.25 | 569228.3868 | 3.3222 | 13.2887 | 31.99% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_16 | Men1_Lid1 | 0.25 | 1.25 | 9 | 390 | 216.6667 | 490 | 272.2222 | 217.7778 | 0.25 | 596297.8 | 3.4719 | 13.8875 | 33.43% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_17 | Men1_Lid1 | 0.25 | 1.25 | 9 | 390 | 216.6667 | 490 | 272.2222 | 217.7778 | 0.25 | 662712.9 | 3.8392 | 15.3566 | 36.97% |  |  | 0.23859 | #DIV/0! | #DIV/0!

## Run_2
|  |  |  | Factors |  |  | Intermediate calculations |  |  |  | Measures 215nm |  |  |  |  | Measures 260nm
| Sample name | Extraction solvent | Teoric sample concentration | Extractant-Dispersant Ratio | Sample volume | Extraction mixture volume | DES volume | EDM a preparar | Volumen DES | Volume ACN | Sample concentration | Area | Concentration | Enrichment factor | Recovery | Sample concentration | Area | Concentration | Enrichment factor 260 | Recovery
Notation | - | des | - | x1 | x2 | x3 | ev | - | - | - | real_sc | - | - | - | - | real_sc |  | - | - | -
Units | - | - | ppm | - | mL | uL | uL | uL | uL | uL | ppm | - | ppm |  | % | ppm | - | ppm |  | %
DES screening | ML21 | Men2_Lid1 | 0.2 | 1.25 | 9 | 390 | 216.6667 | 490 | 272.2222 | 217.7778 | 0.21639 | 618538 | 3.5949 | 16.6125 | 39.99% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| ML11 | Men1_Lid1 | 0.2 | 1.25 | 9 | 390 | 216.6667 | 490 | 272.2222 | 217.7778 | 0.21639 | 742637 | 4.2811 | 19.784 | 47.63% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| MD11 | Men1_Dec1 | 0.2 | 1.25 | 9 | 390 | 216.6667 | 490 | 272.2222 | 217.7778 | 0.21639 | 696277 | 4.0248 | 18.5992 | 44.78% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| TD11 | Thy1_Dec1 | 0.2 | 1.25 | 9 | 390 | 216.6667 | 490 | 272.2222 | 217.7778 | 0.21639 | 268943 | 1.6615 | 7.6782 | 18.48% |  |  | 0.23859 | #DIV/0! | #DIV/0!
Centrifugue screening | RSM_1 | Men1_Lid1 | 0.2 | 0.72 | 6.3 | 190 | 79.5349 | 290 | 121.3953 | 168.6047 | 0.21304 | 1830244.8706 | 10.2958 | 48.3286 | 61.01% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_2 | Men1_Lid1 | 0.2 | 0.72 | 11.7 | 410 | 171.6279 | 510 | 213.4884 | 296.5116 | 0.23209 | 1085694.4338 | 6.1783 | 26.6201 | 39.05% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_3 | Men1_Lid1 | 0.2 | 1.78 | 6.3 | 410 | 262.518 | 510 | 326.5468 | 183.4532 | 0.23209 | 376582.6787 | 2.2568 | 9.7237 | 40.52% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_4 | Men1_Lid1 | 0.2 | 1.78 | 11.7 | 190 | 121.6547 | 290 | 185.6835 | 104.3165 | 0.23209 | 1462468.652 | 8.262 | 35.5977 | 37.01% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_5 | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.23209 | 794677.0306 | 4.5689 | 19.6859 | 36.46% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_6 | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.23209 | 991538.4 | 5.6576 | 24.3766 | 45.14% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_7 | Men1_Lid1 | 0.2 | 0.72 | 6.3 | 410 | 171.6279 | 510 | 213.4884 | 296.5116 | 0.16792 | 644165.4272 | 3.7366 | 22.2528 | 60.62% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_8 | Men1_Lid1 | 0.2 | 0.72 | 11.7 | 190 | 79.5349 | 290 | 121.3953 | 168.6047 | 0.21304 | 1664955.6 | 9.3818 | 44.0379 | 29.94% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_9 | Men1_Lid1 | 0.2 | 1.78 | 6.3 | 190 | 121.6547 | 290 | 185.6835 | 104.3165 | 0.16792 | 759275.6 | 4.3732 | 26.0439 | 50.29% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_10 | Men1_Lid1 | 0.2 | 1.78 | 11.7 | 410 | 262.518 | 510 | 326.5468 | 183.4532 | 0.16792 | 543619.2 | 3.1805 | 18.9413 | 42.5% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_11 | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.16792 | 806997.3143 | 4.6371 | 27.6156 | 51.14% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_12 | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.16792 | 816005.8 | 4.6869 | 27.9122 | 51.69% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_13 | Men1_Lid1 | 0.2 | 0.35865 | 9 | 300 | 79.1925 | 400 | 105.5901 | 294.4099 | 0.21304 | 1701518 | 9.584 | 44.987 | 39.58% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_14 | Men1_Lid1 | 0.2 | 2.1414 | 9 | 300 | 204.4997 | 400 | 272.6662 | 127.3338 | 0.22554 | 980990.4 | 5.5993 | 24.8263 | 56.41% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_15 | Men1_Lid1 | 0.2 | 1.25 | 4.4592 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.22554 | 596596.2 | 3.4735 | 15.401 | 57.56% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_16 | Men1_Lid1 | 0.2 | 1.25 | 13.5408 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.22554 | 690375.4 | 3.9921 | 17.7004 | 21.79% |  |  | 0.23859 | #DIV/0! | #DIV/0!
| RSM_17 | Men1_Lid1 | 0.2 | 1.25 | 9 | 115.0028 | 63.8904 | 215.0028 | 119.446 | 95.5568 | 0.21304 | 1639948 | 9.2435 | 43.3888 | 30.8%
| RSM_18 | Men1_Lid1 | 0.2 | 1.25 | 9 | 484.9972 | 269.4429 | 584.9972 | 324.9985 | 259.9988 | 0.22554 | 470879.8 | 2.7783 | 12.3184 | 36.88%
| RSM_19 | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.22554 | 738066.4 | 4.2559 | 18.8698 | 34.94%
| RSM_20 | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.22554 | 771778.5 | 4.4423 | 19.6964 | 36.47%
| RSM_15 | Men1_Lid1 | 0.2 | 1.25 | 4.4592 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.21304 | 642240.3 | 3.7259 | 17.4895 | 65.37%

## Screening_3
|  |  |  | Factors |  |  | Intermediate calculations |  |  |  | Measures 260nm
| Sample name | Extraction solvent | Teoric sample concentration | Extractant-Dispersant Ratio | Sample volume | Extraction mixture volume | DES volume | EDM a preparar | Volumen DES | Volume ACN | Sample concentration | Area | Concentration | Enrichment factor 260 | Recovery
Notation | - | des | - | x1 | x2 | x3 | ev | - | - | - | real_sc |  | - | - | -
Units | - | - | ppm | - | mL | uL | uL | uL | uL | uL | ppm | - | ppm |  | %
DES screening | Thy-Dec (1:1) | Thy1_Dec1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 821037.6 | 8.1602 | 40.801 | 75.56%
| Thy-Dec (1:1) | Thy1_Dec1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 766949 | 7.6383 | 38.1917 | 70.73%
| Thy-Dec (1:1) | Thy1_Dec1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 839317.8 | 8.3366 | 41.6828 | 77.19%
| Men-Lid (2:1) | Men2_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 831336.6 | 8.2596 | 41.2978 | 76.48%
| Men-Lid (2:1) | Men2_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 882838 | 8.7565 | 43.7823 | 81.08%
| Men-Lid (2:1) | Men2_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 841540.4 | 8.358 | 41.7901 | 77.39%
| Men-Lid (1:1) | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 901158.5 | 8.9332 | 44.6661 | 82.72%
| Men-Lid (1:1) | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 996737.6 | 9.8554 | 49.277 | 91.25%
| Men-Lid (1:1) | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 936476 | 9.274 | 46.3699 | 85.87%
| Men-Dec (1:1) | Men1_Dec1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 850771.6 | 8.4471 | 42.2354 | 78.21%
| Men-Dec (1:1) | Men1_Dec1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 811851.1 | 8.0716 | 40.3578 | 74.74%
| Men-Dec (1:1) | Men1_Dec1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 762805.6 | 7.5984 | 37.9918 | 70.36%
Centrifugue screening | 2 min | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 737646 | 7.3556 | 36.778 | 68.11%
| 2 min | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 671609 | 6.7185 | 33.5923 | 62.21%
| 2 min | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 662727 | 6.6328 | 33.1638 | 61.41%
| 3 min | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 717774 | 7.1639 | 35.8194 | 66.33%
| 3 min | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 683553 | 6.8337 | 34.1685 | 63.28%
| 3 min | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 770319 | 7.6708 | 38.3542 | 71.03%
| 4 min | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 680236 | 6.8017 | 34.0085 | 62.98%
| 4 min | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 646540 | 6.4766 | 32.383 | 59.97%
| 4 min | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 683878 | 6.8368 | 34.1842 | 63.3%

## RSM_3
|  |  |  | Factors |  |  | Intermediate calculations |  |  |  | Measures 260nm
| Sample name | Extraction solvent | Teoric sample concentration | Extractant-Dispersant Ratio | Sample volume | Extraction mixture volume | DES volume | EDM a preparar | Volumen DES | Volume ACN | Sample concentration | Area | Concentration | Enrichment Factor | Recovery
Notation | - | des | - | x1 | x2 | x3 | ev | - | - | - | real_sc |  | - | - | -
Units | - | - | ppm | - | mL | uL | uL | uL | uL | uL | ppm | - | ppm |  | %
Central Composite Design | RSM_1 | Men1_Lid1 | 0.2 | 0.72 | 6.3 | 190 | 79.5349 | 290 | 121.3953 | 168.6047 | 0.2 | 854942.5 | 8.4873 | 42.4366 | 53.57%
| RSM_2 | Men1_Lid1 | 0.2 | 1.78 | 6.3 | 190 | 121.6547 | 290 | 185.6835 | 104.3165 | 0.2 | 382687.8 | 3.9309 | 19.6543 | 37.95%
| RSM_3 | Men1_Lid1 | 0.2 | 0.72 | 11.7 | 190 | 79.5349 | 290 | 121.3953 | 168.6047 | 0.2 | 652978 | 6.5387 | 32.6935 | 22.22%
| RSM_4 | Men1_Lid1 | 0.2 | 1.78 | 11.7 | 190 | 121.6547 | 290 | 185.6835 | 104.3165 | 0.2 | 646831.6 | 6.4794 | 32.397 | 33.69%
| RSM_5 | Men1_Lid1 | 0.2 | 0.72 | 6.3 | 410 | 171.6279 | 510 | 213.4884 | 296.5116 | 0.2 | 472601.6 | 4.7984 | 23.9919 | 65.36%
| RSM_6 | Men1_Lid1 | 0.2 | 1.78 | 6.3 | 410 | 262.518 | 510 | 326.5468 | 183.4532 | 0.2 | 309910 | 3.2287 | 16.1434 | 67.27%
| RSM_7 | Men1_Lid1 | 0.2 | 0.72 | 11.7 | 410 | 171.6279 | 510 | 213.4884 | 296.5116 | 0.2 | 638755.1 | 6.4015 | 32.0074 | 46.95%
| RSM_8 | Men1_Lid1 | 0.2 | 1.78 | 11.7 | 410 | 262.518 | 510 | 326.5468 | 183.4532 | 0.2 | 362839.4 | 3.7394 | 18.6968 | 41.95%
| RSM_9 | Men1_Lid1 | 0.2 | 0.35865 | 9 | 300 | 79.1925 | 400 | 105.5901 | 294.4099 | 0.2 | 1052078 | 10.3893 | 51.9467 | 45.71%
| RSM_10 | Men1_Lid1 | 0.2 | 2.1414 | 9 | 300 | 204.4997 | 400 | 272.6662 | 127.3338 | 0.2 | 446304.5 | 4.5447 | 22.7233 | 51.63%
| RSM_11 | Men1_Lid1 | 0.2 | 1.25 | 4.4592 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 355159.1 | 3.6653 | 18.3263 | 68.5%
| RSM_12 | Men1_Lid1 | 0.2 | 1.25 | 13.5408 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 463700.9 | 4.7125 | 23.5625 | 29%
| RSM_13 | Men1_Lid1 | 0.2 | 1.25 | 9 | 115.0028 | 63.8904 | 215.0028 | 119.446 | 95.5568 | 0.2 | 740086.1464 | 7.3792 | 36.8958 | 26.19%
| RSM_14 | Men1_Lid1 | 0.2 | 1.25 | 9 | 484.9972 | 269.4429 | 584.9972 | 324.9985 | 259.9988 | 0.2 | 268270.6 | 2.8269 | 14.1347 | 42.32%
| RSM_15 | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 555202.5 | 5.5953 | 27.9767 | 51.81%
| RSM_16 | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 536360 | 5.4135 | 27.0677 | 50.13%
| RSM_17 | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 538101.8 | 5.4303 | 27.1517 | 50.28%
| RSM_18 | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 523354.7 | 5.2881 | 26.4403 | 48.96%
| RSM_19 | Men1_Lid1 | 0.2 | 1.25 | 9 | 300 | 166.6667 | 400 | 222.2222 | 177.7778 | 0.2 | 539997 | 5.4486 | 27.2432 | 50.45%

## Optimization
|  |  |  | Factors |  |  | Intermediate calculations |  |  |  | Measures 260nm
| Sample name | Extraction solvent | Teoric sample concentration | Extractant-Dispersant Ratio | Sample volume | Extraction mixture volume | DES volume | EDM a preparar | Volumen DES | Volume ACN | Sample concentration | Area | Concentration | Enrichment factor 260 | Recovery
Notation | - | des | - | x1 | x2 | x3 | ev | - | - | - | real_sc |  | - | - | -
Units | - | - | ppm | - | mL | uL | uL | uL | uL | uL | ppm | - | ppm |  | %
Recovery | OPT_REC | Men2_Lid1 | 0.2 | 1.25 | 4.54 | 334.46 | 185.8111 | 434.46 | 241.3667 | 193.0933 | 0.2 | 257205 | 2.7202 | 13.6009 | 55.67%
| OPT_REC | Men1_Lid1 | 0.2 | 1.25 | 4.54 | 334.46 | 185.8111 | 434.46 | 241.3667 | 193.0933 | 0.2 | 310079 | 3.2303 | 16.1516 | 66.1%
| OPT_REC | Men1_Dec1 | 0.2 | 1.25 | 4.54 | 334.46 | 185.8111 | 434.46 | 241.3667 | 193.0933 | 0.2 | 296997 | 3.1041 | 15.5205 | 63.52%
| OPT_REC | Thy1_Dec1 | 0.2 | 1.25 | 4.54 | 334.46 | 185.8111 | 434.46 | 241.3667 | 193.0933 | 0.2 | 293004 | 3.0656 | 15.3279 | 62.73%
| OPT_REC | Men1_Lid1 | 0.2 | 1.25 | 4.54 | 334.46 | 185.8111 | 434.46 | 241.3667 | 193.0933 | 0.2 | 278822 | 2.9287 | 14.6437 | 59.93%
| OPT_REC | Men1_Lid1 | 0.2 | 1.25 | 4.54 | 334.46 | 185.8111 | 434.46 | 241.3667 | 193.0933 | 0.2 | 276314 | 2.9045 | 14.5227 | 59.44%
Enrichment Factor | OPT_EF | Men1_Lid1 | 0.2 | 0.36 | 9 | 299.75 | 79.3456 | 399.75 | 105.8162 | 293.9338 | 0.2 | 1064013 | 10.5045 | 52.5225 | 46.3%
| OPT_EF | Men1_Lid1 | 0.2 | 0.36 | 9 | 299.75 | 79.3456 | 399.75 | 105.8162 | 293.9338 | 0.2 | 1051553 | 10.3843 | 51.9214 | 45.77%
| OPT_EF | Men1_Lid1 | 0.2 | 0.36 | 9 | 299.75 | 79.3456 | 399.75 | 105.8162 | 293.9338 | 0.2 | 1092773 | 10.782 | 53.9099 | 47.53%
| OPT_EF | Men1_Lid1 | 0.2 | 0.36 | 9 | 299.75 | 79.3456 | 399.75 | 105.8162 | 293.9338 | 0.2 | 1015983 | 10.0411 | 50.2054 | 44.26%
| OPT_EF | Men1_Lid1 | 0.2 | 0.36 | 9 | 299.75 | 79.3456 | 399.75 | 105.8162 | 293.9338 | 0.2 | 997352 | 9.8613 | 49.3066 | 43.47%
| OPT_EF | Men1_Lid1 | 0.2 | 0.36 | 9 | 299.75 | 79.3456 | 399.75 | 105.8162 | 293.9338 | 0.2 | 1041066 | 10.2831 | 51.4155 | 45.33%
W

## Real_matrix
|  |  |  | Factors |  |  | Intermediate calculations |  |  |  | Measures 260nm
| Sample name | Extraction solvent | Teoric sample concentration | Extractant-Dispersant Ratio | Sample volume | Extraction mixture volume | DES volume | EDM a preparar | Volumen DES | Volume ACN | Sample concentration | Area | Concentration | Enrichment factor 260 | Recovery
Notation | - | des | - | x1 | x2 | x3 | ev | - | - | - | real_sc |  | - | - | -
Units | - | - | ppm | - | mL | uL | uL | uL | uL | uL | ppm | - | ppm |  | %
Grey water | 1W_REC | Men1_Lid1 | 0.2 | 1.25 | 4.54 | 334.46 | 185.8111 | 434.46 | 241.3667 | 193.0933 | 0.2 | 192145.2 | 2.0925 | 10.4623 | 42.82%
| 1W_REC | Men1_Lid2 | 0.2 | 1.25 | 4.54 | 334.46 | 185.8111 | 434.46 | 241.3667 | 193.0933 | 0.2 | 193860.4 | 2.109 | 10.545 | 43.16%
| 1W_REC | Men1_Lid3 | 0.2 | 1.25 | 4.54 | 334.46 | 185.8111 | 434.46 | 241.3667 | 193.0933 | 0.2 | 172889.8 | 1.9067 | 9.5334 | 39.02%
| 1W_REC | Men1_Lid4 | 0.2 | 1.25 | 4.54 | 334.46 | 185.8111 | 434.46 | 241.3667 | 193.0933 | 0.2 | 387997.3 | 3.9821 | 19.9105 | 81.49%
| 3W_REC | Men1_Lid5 | 0.2 | 1.25 | 4.54 | 334.46 | 185.8111 | 434.46 | 241.3667 | 193.0933 | 0.2 | 372269 | 3.8303 | 19.1517 | 78.38%
| 3W_REC | Men1_Lid6 | 0.2 | 1.25 | 4.54 | 334.46 | 185.8111 | 434.46 | 241.3667 | 193.0933 | 0.2 | 423467 | 4.3243 | 21.6216 | 88.49%
| 3W_REC | Men1_Lid7 | 0.2 | 1.25 | 4.54 | 334.46 | 185.8111 | 434.46 | 241.3667 | 193.0933 | 0.2 | 471031.1704 | 4.7832 | 23.9162 | 97.88%
| 3W_REC | Men1_Lid8 | 0.2 | 1.25 | 4.54 | 334.46 | 185.8111 | 434.46 | 241.3667 | 193.0933 | 0.2 | 438870.0248 | 4.4729 | 22.3647 | 91.53%
| 1W_EF | Men1_Lid1 | 0.2 | 0.36 | 9 | 299.75 | 79.3456 | 399.75 | 105.8162 | 293.9338 | 0.2 | 885383.4 | 8.781 | 43.9051 | 38.71%
| 1W_EF | Men1_Lid2 | 0.2 | 0.36 | 9 | 299.75 | 79.3456 | 399.75 | 105.8162 | 293.9338 | 0.2 | 898930.8 | 8.9117 | 44.5587 | 39.28%
| 1W_EF | Men1_Lid3 | 0.2 | 0.36 | 9 | 299.75 | 79.3456 | 399.75 | 105.8162 | 293.9338 | 0.2 | 789180.3 | 7.8528 | 39.2641 | 34.62%
| 1W_EF | Men1_Lid4 | 0.2 | 0.36 | 9 | 299.75 | 79.3456 | 399.75 | 105.8162 | 293.9338 | 0.2 | 732726.6 | 7.3081 | 36.5407 | 32.21%
| 3W_EF | Men1_Lid5 | 0.2 | 0.36 | 9 | 299.75 | 79.3456 | 399.75 | 105.8162 | 293.9338 | 0.2 | 1821159.8 | 17.8097 | 89.0483 | 78.51%
| 3W_EF | Men1_Lid6 | 0.2 | 0.36 | 9 | 299.75 | 79.3456 | 399.75 | 105.8162 | 293.9338 | 0.2 | 1562945 | 15.3183 | 76.5917 | 67.52%
| 3W_EF | Men1_Lid7 | 0.2 | 0.36 | 9 | 299.75 | 79.3456 | 399.75 | 105.8162 | 293.9338 | 0.2 | 1741513.4 | 17.0412 | 85.2061 | 75.12%
| 3W_EF | Men1_Lid8 | 0.2 | 0.36 | 9 | 299.75 | 79.3456 | 399.75 | 105.8162 | 293.9338 | 0.2 | 1461280.6 | 14.3374 | 71.6872 | 63.2%
W

## Aqueous solutions
|  |  |  | 215nm |  |  |  | 260nm
Date | Sample Name | Run | Discription | Area | Concentration | PROM | DESV | Area | Concentration | PROM | DESV
2023-11-10 | SX | - | Unknown concentration | 10079 | 0.22995 |  |  |  | 0.23859
|  |  |  | 13540 | 0.24909 |  |  |  | 0.23859
|  |  |  | 13631 | 0.2496 | 0.24288 | 0.011199 |  | 0.23859 | 0.23859 | 0
2023-11-10 | SY | - | Unknown concentration | 7760 | 0.21713 |  |  |  | 0.23859
|  |  |  | 4126 | 0.19703 | 0.20708 | 0.014211 |  | 0.23859 | 0.23859 | 0
2023-11-10 | SC | - | Mixture of the above solutions | 6271 | 0.2089 |  |  |  | 0.23859
|  |  |  | 5560 | 0.20496 |  |  |  | 0.23859
|  |  |  | 3072 | 0.1912 | 0.20169 | 0.0092893 |  | 0.23859 | 0.23859 | 0
2023-11-13 | SC | screening | Sample concentration in centrifugue screening | 15669 | 0.26087 |  |  | 8465 | 0.32026
|  |  |  | 15197 | 0.25826 |  |  | 8339 | 0.31904
|  |  |  | 13939 | 0.2513 | 0.25681 | 0.0049455 | 7822 | 0.31406 | 0.31779 | 0.0032875
2023-11-13 | SC | 3 | Sample concentration in response surface | 29064.8 | 0.33495 |  |  | 16228 | 0.39516
|  |  |  | 26992.2 | 0.32349 |  |  | 15290 | 0.38611
|  |  |  | 27059 | 0.32386 | 0.32743 | 0.0065135 | 14705 | 0.38046 | 0.38724 | 0.0074127
2023-11-14 | SC | 3 | Sample concentration in response surface | 30121 | 0.34079 |  |  | 17197 | 0.40451
|  |  |  | 27586 | 0.32677 |  |  | 15870 | 0.39171
|  |  |  | 26395 | 0.32019 | 0.32925 | 0.010524 | 15101 | 0.38429 | 0.3935 | 0.01023
2023-11-23 | SC | opt | Sample concentration in optimum REC | 14621 | 0.25507 |  |  | 7439 | 0.31036
|  |  |  | 14739 | 0.25573 |  |  | 8233 | 0.31802
|  |  |  | 14675 | 0.25537 | 0.25539 | 0.00032667 | 8013 | 0.3159 | 0.31476 | 0.0039552
2023-11-24 | SC | opt | Sample concentration in optimum EF | 9344 | 0.22589 |  |  | 5187 | 0.28863
|  |  |  | 9714 | 0.22794 |  |  | 5470 | 0.29136
|  |  |  | 8596 | 0.22175 | 0.22519 | 0.0031497 | 4805 | 0.28495 | 0.28831 | 0.0032199
2023-12-06 | SC | screening | DES screening | 35675 | 0.37151 |  |  | 20250 | 0.43396
|  |  |  | 39097 | 0.39043 |  |  | 22452 | 0.45521
|  |  |  | 35672 | 0.37149 | 0.37781 | 0.010931 | 20250 | 0.43396 | 0.44105 | 0.012266